AI-POWERED ELECTRICAL PANEL FAULT PREDICTION AND PREVENTIVE MAINTENANCE SYSTEM

A CAPSTONE PROJECT REPORT

A Capstone Project Report submitted in partial fulfilment of the requirements for the Course of

CSA1707 - ARTIFICIAL INTELLIGENCE

to the award of the degree of

BACHELOR OF ENGINEERING

IN

ARTIFICIAL INTELLIGENCE AND DATA SCIENCE

Submitted by

V.LASYA- 192524186

Under the Supervision of

Dr. R. Veeramani

SIMATS ENGINEERING

Saveetha Institute of Medical and Technical Sciences

Chennai-602105

SEPTEMBER – 2026

SIMATS ENGINEERING

Saveetha Institute of Medical and Technical Sciences

Chennai-602105

BONAFIDE CERTIFICATE

This is to certify that the Capstone Project entitled “AI-Powered Electrical Panel Fault Prediction and Preventive Maintenance System” has been carried out by V.Lasya- 192524186, under the supervision of Dr. R. Veeramani and is submitted in partial fulfilment of the requirements for the current semester of the B.Tech Artificial Intelligence and Data Science program at Saveetha Institute of Medical and Technical Sciences, Chennai.

COURSE COORDINATOR                                                                                 COURSE FACULTY

Dr . Krishna Kumar Karthiresan                                                                         Dr. R . Veeramani

Associate Professor                                                                                                 Professor

Department of CSE                                                                                                Department of CSE

SIMATS Engineering                                                                                             SIMATS Engineering

SIMATS, Chennai – 602105.                                                                                 SIMATS, Chennai - 602105

SIMATS ENGINEERING

Saveetha Institute of Medical and Technical Sciences

Chennai-602105

DECLARATION

I V.Lasya- 192524186, of the Artificial Intelligence and Data Science department, SIMATS Engineering, Saveetha Institute of Medical and Technical Sciences, Chennai, hereby declare that the Capstone Project Work entitled “AI-Powered Electrical Panel Fault Prediction and Preventive Maintenance System” is the result of my own bonafide efforts. To the best of our knowledge, the work presented herein is original, accurate, and has been carried out in accordance with the principles of engineering ethics and academic integrity. All sources, references, data, and other materials used in the project have been appropriately acknowledged. I further declare that the data, results, analysis, and findings presented in this report have not been fabricated, falsified, or manipulated. Any external tools, software, datasets, computational resources, or AI-assisted tools used during the project have been appropriately disclosed. I confirm that all applicable ethical, academic, institutional, and professional requirements have been duly followed throughout the planning, execution, analysis, and documentation of the project.

Place:  chennai
Date:  03-09-2026

Signature of the Student
V.Lasya- 192524186

SIMATS ENGINEERING

Saveetha Institute of Medical and Technical Sciences

Chennai-602105

INDIVIDUAL CONTRIBUTION STATEMENT

| Student Name / Register No. | Specific Responsibilities | Design & Development Contribution | Testing & Analysis Contribution | Report Contribution | Approx. Contribution (%) |
| --- | --- | --- | --- | --- | --- |
| V.Lasya- 192524186 | Data acquisition and continuous monitoring of electrical-panel parameters. | Defined the monitoring inputs and data flow for voltage, current, power, power factor, temperature, vibration and load percentage; worked on timestamping, validation and preparation of sensor or historical data. | Checked parameter readings, timestamp validation, missing-value handling and preprocessing readiness; analysed whether inputs represented normal and abnormal operating patterns. | Prepared the introduction, abstract, problem statement, objectives, existing-system analysis, proposed-system overview, dataset description and Module 1 documentation. | 33.33% |
| V.G.Abbiramy- 192524097 | AI fault-prediction workflow, feature engineering and machine-learning evaluation. | Worked on the AI/ML stage that cleans sensor data, creates moving averages, temperature rise, load percentage and rate-of-change features, and returns fault probability, predicted fault category and confidence. | Planned evaluation using accuracy, precision, recall, F1-score and confusion matrix, while considering false-alarm rate and validation of configurable thresholds against safe operating limits. | Prepared the literature-review comparison, AI fault-prediction module, methodology, model-evaluation discussion and technical explanation of the prediction workflow. | 33.33% |
| S.Divyasri- 192524388 | Risk classification, alert generation, preventive-maintenance recommendations and maintenance-history design. | Designed the conversion of model output into Normal, Warning and Critical states and mapped predicted risk or sensor thresholds to actions such as inspection, cooling, load balancing, tightening or component replacement. | Reviewed alert thresholds, risk-state transitions and maintenance-action recording, with attention to false alarms and validation against safe operating limits. | Prepared the proposed-system features, Module 3 documentation, results-and-discussion interpretation, conclusion, future scope and individual reflection. | 33.33% |
| Total |  |  |  |  | 100% |

ABSTRACT

Medical imaging techniques such as Magnetic Resonance Imaging (MRI) and Computed Tomography (CT) generate large volumes of image data that play a critical role in the early detection and diagnosis of tumours. Manually analysing these images is time-consuming, requires expert radiological knowledge, and is prone to human error due to the subtle and irregular appearance of tumour regions. The proposed project, AI-Powered Electrical Panel Fault Prediction and Preventive Maintenance System, addresses this challenge by developing an automated pipeline that loads MRI/CT scans, preprocesses them, segments tumour regions, classifies abnormal tissue, and evaluates the quality of the segmentation output. The system uses OpenCV for image loading and preprocessing operations such as noise removal, contrast enhancement, and normalization. Thresholding and morphological operations are applied to isolate candidate regions of interest, while a U-Net based Convolutional Neural Network (CNN) architecture is used to perform pixel-level segmentation of tumour boundaries. A CNN classifier further distinguishes abnormal regions from healthy tissue, assisting in diagnostic decision-making. The segmentation performance is evaluated using the Dice Similarity Coefficient and Intersection over Union (IoU), with target thresholds of Dice Score ≥ 0.90 and IoU ≥ 0.85, while the classification module is evaluated for an accuracy of at least 92%. The expected outcome is an accurate and reliable tumour localization system that can assist radiologists and clinicians in diagnostic assistance, thereby reducing manual workload and improving the consistency of tumour identification in medical images.

Keywords: Medical Image Analysis, OpenCV, Tumour Segmentation, U-Net, CNN, Computer Vision

TABLE OF CONTENTS

| Sl. No | Title | Page No. |
| --- | --- | --- |
| i | CERTIFICATE FROM THE SUPERVISOR | ii |
| ii | DECLARATION BY THE CANDIDATE | iii |
| iii | INDIVIDUAL CONTRIBUTION STATEMENT | iv |
| iv | ABSTRACT | v |
| v | LIST OF FIGURES | vi |
| vi | LIST OF TABLES | vii |
| vii | LIST OF ABBREVIATIONS / SYMBOLS | viii |
| 1 | CHAPTER 1: Introduction and Engineering Problem | 10 |
| 2 | CHAPTER 2: Literature Review and Existing Solutions | 13 |
| 3 | CHAPTER 3: Engineering Design & Trade-offs, Sustainability, Ethics, Safety, Risk & Security | 15 |
| 4 | CHAPTER 4: Implementation, Testing & Results, Project Management | 20 |
| 5 | CHAPTER 5: Conclusion, Future Work and Reflection | 24 |
|  | References | 27 |
|  | Appendices | 28 |
|  | Capstone Project Outcome Mapping Sheet | 30 |

LIST OF FIGURES

| Figure No. | Figure Name | Page No. |
| --- | --- | --- |
| Figure 1 | Overall AI-Powered Electrical Panel Fault Prediction System | 18 |
| Figure 2 | Monitoring, Risk, Alert and Maintenance Workflow | 22 |

LIST OF TABLES

| Table No. | Table Name | Page No. |
| --- | --- | --- |
| Table 1 | Stakeholder / User Requirements | 8 |
| Table 2 | Functional and Non-Functional Requirements | 8 |
| Table 3 | Design Specifications | 9 |
| Table 4 | Alternative Solutions Evaluation | 9 |
| Table 5 | Trade-off Analysis | 11 |
| Table 6 | Sustainability, Ethics, Safety and Security | 12 |
| Table 7 | Risk Register | 13 |
| Table 8 | Tools and Technologies Used | 15 |
| Table 9 | Test Plan and Verification | 16 |
| Table 10 | Results and Discussion | 18 |
| Table 11 | Objective Achievement | 19 |
| Table 12 | Project Planning and Budget | 19 |

LIST OF ABBREVIATIONS / SYMBOLS

| Symbol | Description | Unit |
| --- | --- | --- |
| AI | Artificial Intelligence | — |
| ML | Machine Learning | — |
| IoT | Internet of Things | — |
| LSTM | Long Short-Term Memory | — |
| F1 | F1-score | metric |
| CMMS | Computerized Maintenance Management System | — |
| CSV | Comma-Separated Values | data format |
| SQL | Structured Query Language | database |
| ESP32 | Microcontroller used for IoT sensing | device |
| API | Application Programming Interface | software |

CHAPTER 1
INTRODUCTION AND ENGINEERING PROBLEM

## 1.1 Background

1.1 Background Information

Electrical panels are essential for safe and reliable power distribution in industries, buildings and commercial facilities. Common problems include overheating, overload, abnormal voltage/current, loose connections and component degradation. Traditional maintenance is mainly scheduled or reactive and may not identify developing faults early. Artificial Intelligence can learn patterns from sensor data and predict abnormal conditions before a major failure.

The proposed project addresses this problem by combining continuous electrical-panel monitoring, data preprocessing, machine-learning prediction, risk assessment, alerts and maintenance history. The system collects sensor or historical readings, generates useful features, predicts fault probability and type, and converts the output into practical maintenance priorities.

1.2 Project Objectives

- To load and organize MRI/CT image datasets for analysis.

- To clean and preprocess panel sensor data using missing-value handling and normalization/scaling.

- To create useful features such as moving averages, temperature rise, load percentage and rate of change.

- To train and evaluate machine-learning models for fault prediction and classification.

- To classify panel conditions into the defined fault categories.

- To evaluate prediction performance using accuracy, precision, recall, F1-score and confusion matrix.

- To evaluate false-alarm rate and validate configurable thresholds against safe operating limits.

- To generate reliable Normal, Warning and Critical risk states.

- To generate early alerts and prioritized preventive-maintenance recommendations.

1.3 Significance of the Project

The project is significant because early and accurate detection of tumors directly impacts patient outcomes. Automated segmentation reduces the diagnostic workload on radiologists and provides a consistent, repeatable analysis that is not affected by fatigue or subjective judgment.

Combining classical image processing techniques such as OpenCV, thresholding, and morphological operations with deep learning techniques such as U-Net and CNN allows the system to benefit from both robust low-level feature extraction and high-level learned representations, resulting in more accurate tumour boundary delineation than either approach alone.

Quantitative evaluation using the Dice Score and IoU ensures that the segmentation output is clinically meaningful, while classification accuracy provides confidence in distinguishing abnormal regions from healthy tissue.

1.4 Scope of the Project

Included

- Loading of MRI/CT image datasets in standard formats such as DICOM, PNG, and JPEG.

- Image preprocessing including denoising, resizing, and normalization.

- Thresholding and morphological operations for region isolation.

- Tumor segmentation using a U-Net based CNN architecture.

- Classification of abnormal regions using CNN-based feature extraction.

- Evaluation of segmentation using Dice Score and IoU.

- Evaluation of classification using accuracy, precision, and recall.

- Visualization of tumor localization on the original scan.

Excluded

- Large-scale 3D volumetric segmentation.

- Automatic treatment recommendation.

- Integration with electronic health record systems.

- Fully autonomous clinical decision-making.

The project does not include real-time integration with hospital imaging systems (PACS) and focuses on offline analysis of publicly available or anonymized MRI/CT datasets. Multi-modal fusion of MRI and CT data and 3D volumetric segmentation are outside the primary scope of the project.

1.5 Methodology Overview

The proposed methodology consists of three major modules.

Module 1: Data Acquisition and Monitoring

MRI/CT images are loaded using OpenCV. Preprocessing steps include noise removal, contrast enhancement, resizing, and normalization to prepare the images for segmentation.

Noise reduction techniques are applied to minimize unwanted variations while preserving important anatomical information. Contrast enhancement can be used to improve the visibility of structures with low intensity differences. The images are then resized to a common resolution so that they can be processed efficiently by the neural network.

Module 2: AI Fault Prediction

Thresholding and morphological operations are used for initial region-of-interest extraction. A U-Net based CNN is then trained to perform precise pixel-level segmentation of tumour regions.

The U-Net model contains an encoder path and a decoder path. The encoder extracts increasingly complex features from the input image, while the decoder reconstructs the spatial information required to produce a segmentation mask. Skip connections between corresponding encoder and decoder layers help preserve fine-grained spatial information.

Module 3: Preventive Maintenance

A CNN classifier categorizes segmented regions as normal or abnormal. Segmentation performance is evaluated using Dice Score and IoU, while classification performance is evaluated using accuracy, precision, and recall.

1.6 Scope

The scope of the proposed Medical Image Analysis for Tumor Detection and Segmentation project is to develop an automated computer vision and deep learning-based system for detecting and analyzing tumor regions in MRI/CT medical images. The system focuses on image preprocessing, tumor region extraction, segmentation, classification, and performance evaluation.

What is Included

- Loading and processing MRI/CT medical image datasets.

- Preprocessing of medical images using noise reduction, resizing, normalization, and contrast enhancement.

- Extraction of candidate tumor regions using thresholding and morphological operations.

- Pixel-level tumor segmentation using a U-Net based CNN model.

What is Excluded

The following functionalities are outside the primary scope of the project:

- Large-scale 3D volumetric tumor segmentation.

- Automatic treatment or medication recommendations.

- Fully autonomous clinical diagnosis.

- Integration with hospital Picture Archiving and Communication Systems (PACS).

1.7 Expected Engineering Outcome

The expected engineering outcome of the project is an AI-assisted electrical-panel monitoring and preventive-maintenance prototype that combines data acquisition, machine-learning prediction, risk classification, alerts and maintenance history.

CHAPTER 2
LITERATURE REVIEW AND EXISTING SOLUTIONS

## 2.1 Review Method

2.1 Review Method

The project is grounded in established concepts from artificial intelligence, machine learning, condition monitoring, predictive maintenance and electrical-equipment maintenance.

## 2.2 Review of Existing Work

2.2 Review of Existing Work

Traditional electrical-panel maintenance relies heavily

Simple image-processing approaches such as global thresholding can provide initial candidate regions, but a threshold that works for one image may fail on another because tumour intensity can vary with imaging modality, acquisition parameters, tumour type and surrounding tissue. Noise and small unwanted regions may also be incorrectly identified as tumour regions.

2.3 Comparative Analysis

## 2.3 Comparative Analysis

| Existing Approach | Advantages | Limitations | Relevance to Proposed Work |
| --- | --- | --- | --- |
| Scheduled preventive maintenance | Simple planning and fixed inspection intervals | Can miss faults developing between inspections | Baseline maintenance practice |
| Manual inspection | Uses operator experience and direct measurement | Time-consuming and depends on operator experience | Current limitation the proposed system addresses |
| Reactive maintenance | Action occurs after visible failure or breaker trip | Can increase downtime, repair cost and safety risk | Motivates early prediction |
| Fixed threshold monitoring | Simple and computationally light alerts | May not capture complex multi-parameter patterns | Useful supporting alert layer |
| AI/ML prediction | Learns patterns and estimates fault probability | Needs representative labelled data | Primary predictive approach |

2.4 Research

## 2.4 Research / Engineering Gap

The identified engineering gap is the limited ability of scheduled or reactive maintenance practices to continuously interpret panel-condition data and provide early, actionable fault warnings

The proposed project addresses this gap by combining image preprocessing, candidate region extraction, deep-learning-based tumor segmentation, abnormal-region classification, and quantitative performance evaluation into one complete pipeline. The preprocessing stage improves the quality and consistency of the input MRI/CT images, while thresholding and morphological operations help in extracting potential regions of interest.

Therefore, the engineering gap addressed by the project is the lack of an integrated and measurable workflow that connects medical image preprocessing → candidate region extraction → tumor segmentation → tumor classification → quantitative evaluation within a single modular system.

2.5 Proposed Contribution

The proposed contribution is an integrated electrical-panel condition-monitoring and predictive-maintenance pipeline

The first contribution is the development of an OpenCV-based preprocessing stage for MRI/CT images. This stage performs operations such as noise reduction, resizing, normalization, and contrast enhancement to improve the quality of the input images and prepare them for subsequent analysis.

The third contribution is the implementation of a U-Net based CNN model for pixel-level tumor segmentation. The encoder-decoder structure of U-Net allows the system to learn relevant image features while preserving spatial information through skip connections. The output of this stage is a segmentation mask representing the detected tumor region.

Finally, the proposed system provides visualization of tumor localization and segmentation results, making it easier to interpret the output of the analysis pipeline. Overall, the contribution is a modular workflow that integrates preprocessing, region extraction, tumor segmentation, classification, visualization, and performance evaluation into a single system.

CHAPTER 3
ENGINEERING DESIGN & TRADE-OFFS, SUSTAINABILITY, ETHICS, SAFETY, RISK & SECURITY

3.1 Requirements

| Stakeholder | Requirement |
| --- | --- |
| Maintenance personnel | Receive early warnings and prioritized preventive actions. |
| Electrical operators | View current panel condition and key parameters. |
| Facility / industrial management | Reduce downtime, repair cost and safety risk. |
| AI/ML developers | Access structured sensor data and evaluation results. |
| Safety personnel | Identify abnormal electrical conditions early. |
| Management / maintenance team | Review alert history and maintenance priorities for planning. |

Functional & Non-Functional Requirements

| Requirement Type | Requirement | Measurable Target |
| --- | --- | --- |
| Functional | Monitor panel parameters | Voltage, current, temperature, load, power factor, vibration |
| Functional | Preprocess sensor data | Missing-value handling, normalization/scaling, feature extraction |
| Functional | Predict fault | Fault probability and fault category |
| Functional | Classify risk | Normal / Warning / Critical |
| Functional | Generate alerts | Threshold- or risk-based warning |
| Functional | Recommend maintenance | Inspection, cooling, load balancing, tightening or replacement |
| Non-Functional | Reliability | Repeatable monitoring and documented evaluation |
| Non-Functional | Security | Controlled access to operational records |
| Non-Functional | Maintainability | Separate acquisition, AI, risk, dashboard and history modules |

3.2 Constraints & Applicable Standards

| Standard / Principle | Requirement | How Applied in This Project |
| --- | --- | --- |
| AI/ML development principles | Systematic development, testing and documentation | Applied through modular data, model, risk and dashboard stages. |
| ISO 17359:2018 | Structured condition monitoring | Used as a reference for organized condition-monitoring workflow. |
| NFPA 70B | Electrical equipment maintenance | Supports preventive-maintenance planning and maintenance practice. |
| Modular Design Principles | Separate system responsibilities | Acquisition, preprocessing, prediction, risk, dashboard and history are treated as distinct stages. |

3.3 Design Specifications

| Parameter | Target / Requirement | Unit | Priority |
| --- | --- | --- | --- |
| Input parameters | Voltage, current, power, power factor, temperature, vibration, load percentage | values | High |
| Target labels | Normal, Overload, Overheating, Voltage Abnormality, Current Abnormality, Connection/Component Fault | class | High |
| Risk states | Normal / Warning / Critical | state | High |
| Evaluation metrics | Accuracy, precision, recall, F1-score, confusion matrix, false-alarm rate | metric | High |
| Alert thresholds | Configurable and validated against safe operating limits | threshold | High |
| Maintenance history | Readings, alerts and actions retained for traceability | record | High |

## 3.4 Alternative Solutions & Evaluation

3.4 Alternative Solutions & Evaluation

Alternative 1: Classical image processing only. This approach uses preprocessing, thresholding and morphological operations to identify candidate regions. It is simple and computationally lighter but is sensitive to image intensity variations and may not accurately capture irregular tumour boundaries.

Alternative 2: Deep-learning-only segmentation. This approach directly applies a trained segmentation network to the images. It can learn complex features but depends strongly on annotated training data and does not explicitly use classical preprocessing and coarse region extraction.

Alternative 3: Hybrid classical + deep-learning pipeline. This approach combines preprocessing and region extraction with U-Net based segmentation and CNN classification, providing both image-quality preparation and learned feature representation.

| Criterion | Weight | Alternative 1 | Alternative 2 | Alternative 3 |
| --- | --- | --- | --- | --- |
| Early prediction | High | Low | Medium | High |
| Cost / complexity | Medium | Low | Medium | High |
| Safety / control | High | Medium | High | High |
| Sustainability / efficiency | Medium | Medium | High | High |
| Reliability / adaptability | High | Medium | Medium | High |

## 3.5 Selected Design & Detailed Design

3.5 Selected Design & Detailed Design

The hybrid classical image-processing and deep-learning approach is selected because it directly addresses the identified limitations of noisy medical images, candidate-region ambiguity and irregular tumour boundaries.

System Architecture: The system follows the sequence image acquisition → preprocessing → region extraction → segmentation → classification → evaluation/visualization. The modules are connected so that the output of each stage becomes the controlled input to the next stage.

Figure 1. Overall AI-Powered Electrical Panel Fault Prediction System

3.6 Trade-off Analysis

| Stage | Input | Main Operations | Output |
| --- | --- | --- | --- |
| Data Acquisition | Sensor / historical readings | Read, timestamp, validate and store | Structured readings |
| Preprocessing | Raw readings | Missing-value handling, normalization/scaling, feature extraction | Model-ready data |
| AI/ML Prediction | Model-ready data | ML inference | Fault probability and category |
| Risk & Fault Engine | Prediction + thresholds | Normal/Warning/Critical logic | Risk state |
| Dashboard / Alerts | Risk + readings | Status, alerts and trends | Operator view |
| Maintenance History | Alerts + actions | Record events and outcomes | Traceable history |

3.7 Sustainability, Ethics, Safety, Risk & Security

| Design Decision | Alternative Considered | Benefit | Disadvantage | Final Decision & Justification |
| --- | --- | --- | --- | --- |
| AI/ML prediction + risk engine | Rule-only monitoring | Learns multi-parameter patterns and supports early prediction | Needs representative data and model evaluation | Selected because the project aims to move beyond fixed/reactive maintenance. |
| Multi-parameter monitoring | Single-parameter monitoring | Captures interacting electrical and environmental conditions | More sensors/data to manage | Selected to improve condition visibility. |
| Normal / Warning / Critical states | Binary alarm only | Gives clearer maintenance priority | Requires threshold configuration | Selected for actionable risk communication. |
| Maintenance history | Alert-only system | Provides traceability and supports future improvement | Adds storage requirements | Selected to retain readings, alerts and actions. |

## 3.7 Sustainability, Ethics, Safety, Risk & Security

| Domain | Consideration | Evidence Evaluated | Impact on Final Decision |
| --- | --- | --- | --- |
| Sustainability | Efficient maintenance and reusable modular components | Condition-based workflow and historical records | Supports reduced unnecessary servicing and reuse. |
| Ethics | Avoid unsafe autonomous decisions | Predictions are used for maintenance assistance | Human/operator judgement remains important. |
| Health & Safety | Electrical faults can create hazards | Threshold validation and model evaluation are required | Alerts support earlier intervention. |
| Security / Privacy | Protect operational and maintenance records | Controlled access and secure storage are required | Operational data handling is part of the design. |

### Risk Register

| Risk | Likelihood | Severity | Risk Level | Mitigation | Residual Risk |
| --- | --- | --- | --- | --- | --- |
| Poor / incomplete sensor data | Medium | High | High | Validation, missing-value handling and preprocessing | Medium |
| False alarm | Medium | Medium | Medium | Threshold tuning and false-alarm evaluation | Medium |
| Missed fault | Low/Medium | High | High | Model evaluation and safe operating limits | Medium |
| Unknown fault type | Medium | Medium | Medium | Future anomaly-detection extension | Medium |
| Sensor / communication failure | Medium | High | High | Validation, timestamp checks and hardware monitoring | Medium |

CHAPTER 4
IMPLEMENTATION, TESTING & RESULTS, PROJECT MANAGEMENT

4.1 Development Approach & Resources

The development approach follows requirement analysis, data acquisition, preprocessing, feature engineering, model training, fault prediction, risk assessment, alert generation, maintenance recommendation and history storage.

| Resource | Purpose |
| --- | --- |
| Python | Main programming language and back-end development |
| Scikit-learn | Machine-learning model development |
| XGBoost / LSTM | Optional advanced prediction approaches |
| HTML / CSS / JavaScript / React | Dashboard front end |
| Flask / FastAPI | Back-end API |
| CSV / SQL | Sensor, alert and maintenance-history storage |
| ESP32 or equivalent | IoT sensor controller |
| VS Code / Jupyter Notebook / Git | Development and experimentation |
| Voltage / current / temperature sensors | Electrical-panel parameter acquisition |
| Web browser | Dashboard access and monitoring |

## 4.2 Software / Hardware Implementation & Modern Tools Used

4.2 Hardware / Software / Modern Tools Used

Implementation is organized into the stages defined in the project PPT: data acquisition, cleaning, feature engineering, model training, fault prediction, risk assessment, alert generation, maintenance recommendation and maintenance history.

| Tool / Software | Purpose | Stage Used |
| --- | --- | --- |
| Python | Programming | All stages |
| Scikit-learn | ML model development | Prediction / classification |
| XGBoost / LSTM | Advanced model options | Prediction |
| HTML / CSS / JavaScript / React | Dashboard development | Visualization / alerts |
| Flask / FastAPI | API development | Back end |
| CSV / SQL | Data storage | History / records |
| Jupyter Notebook / VS Code / Git | Experimentation and version control | Development |

4.3 Test Plan & Verification

## 4.3 Test Plan & Verification

| Requirement / Specification | Test Method | Acceptance Criterion | Required Value | Achieved / Reported Value | Status |
| --- | --- | --- | --- | --- | --- |
| Data acquisition | Read and validate representative readings | Valid timestamped input | Required panel parameters | Workflow defined in PPT | Pass* |
| Preprocessing | Apply missing-value handling and scaling | Model-ready data | Cleaned features | Preprocessing stage specified | Pass* |
| Fault prediction | Run labelled test data through trained model | Report classification metrics | Accuracy, precision, recall, F1-score | Metrics specified; numerical values not supplied | To verify |
| Risk classification | Check threshold and probability cases | Normal/Warning/Critical | Three risk states | Design specified | Pass* |
| Alerting | Trigger threshold/risk conditions | Correct alert generated | Configured thresholds | Design specified | Pass* |

4.4 Results

## 4.4 Results

The project results section defines continuous visibility of panel parameters, fault probability and predicted fault type, Normal/Warning/Critical status and prioritized preventive action.

| Condition / Sample | Fault Probability | Predicted Fault Type | Risk State |
| --- | --- | --- | --- |
| Normal operating sample | — | Normal | Normal |
| High temperature / load sample | — | Overheating / Overload | Warning |
| Abnormal voltage/current sample | — | Voltage / Current Abnormality | Critical |

4.5 Data Analysis & Engineering Judgment

## 4.5 Data Analysis & Engineering Judgment

The project requires model evaluation using accuracy, precision, recall, F1-score, confusion matrix and false-alarm rate on labelled test data. The PPT does not provide numerical model-performance results, so no unsupported numerical accuracy is claimed.

The project identifies data quality, class imbalance, boundary ambiguity and computational cost as important engineering issues. These factors can influence segmentation performance and must be considered when interpreting results.

4.6 Comparison with Existing Solutions & Achievement of Objectives

## 4.6 Comparison with Existing Solutions & Achievement of Objectives

| Objective | Evidence | Achievement |
| --- | --- | --- |
| Monitor panel parameters | Voltage, current, temperature, load, power factor and vibration identified | Implemented / as designed |
| Detect abnormal patterns | Overload, overheating and electrical abnormalities defined | Implemented / as designed |
| Develop AI/ML fault prediction | ML workflow and feature engineering specified | Implemented / model evaluation required |
| Generate early alerts | Normal / Warning / Critical risk logic defined | Implemented / as designed |
| Generate maintenance recommendations | Inspection, cooling, load balancing, tightening or replacement actions specified | Implemented / as designed |
| Store historical readings and events | Maintenance history and event logging included | Implemented / as designed |
| Evaluate model performance | Accuracy, precision, recall, F1-score and confusion matrix specified | To verify with labelled test data |
| Evaluate false alarms | False-alarm rate specified | To verify |
| Target classification accuracy ≥ 92% | Target specified but no separate measured accuracy value provided | To verify |

## 4.7 Strengths & Limitations

Strengths:

Combines classical image processing with deep-learning segmentation.

Uses a modular architecture separating preprocessing, segmentation, classification and evaluation.

Provides quantitative segmentation metrics rather than relying only on visual inspection.

Supports visualization of tumour localization on the original scan.

Maintains a diagnostic-assistance scope instead of autonomous clinical decision-making.

Limitations:

Training U-Net on high-resolution medical images can require substantial computational resources.

Segmentation performance depends on the quality, diversity and annotation accuracy of the dataset.

Class imbalance can bias segmentation toward healthy tissue.

- 4.8 Project Planning, Roles & Budget

## 4.8 Project Planning, Roles & Budget

| Milestone | Planned Activity | Output |
| --- | --- | --- |
| 1 | Requirement analysis | System requirements and monitoring targets |
| 2 | Data acquisition | Structured sensor / historical readings |
| 3 | Preprocessing | Cleaned and model-ready data |
| 4 | Feature engineering | Predictive features |
| 5 | Model development | Fault prediction model |
| 6 | Risk and alerting | Normal/Warning/Critical states |
| 7 | Maintenance workflow | Recommendations and history |
| 8 | Documentation | Final individual report and presentation |

| Student | Assigned Responsibility | Actual Contribution |
| --- | --- | --- |
| V.Lasya- 192524186 | Data acquisition and continuous monitoring of electrical-panel parameters. | Checked parameter readings, timestamp validation, missing-value handling and preprocessing readiness; analysed whether inputs represented normal and abnormal operating patterns. |

| Item | Estimated Cost | Actual Cost |
| --- | --- | --- |
| Software / open-source tools | — | — |
| Development environment | — | — |
| Dataset | — | — |
| IoT hardware / sensors | To be confirmed | To be confirmed |
| Other project resources | — | — |

CHAPTER 5
CONCLUSION, FUTURE WORK AND REFLECTION

## 5.1 Conclusion

5.1 Conclusion

The AI-Powered Electrical Panel Fault Prediction and Preventive Maintenance System was developed to address the limitations of scheduled and reactive electrical-panel maintenance.

The developed system combines classical image processing techniques and deep learning methods. The input MRI/CT images are first subjected to preprocessing operations such as noise reduction, contrast enhancement, resizing, and normalization. Thresholding and morphological operations are then used for initial candidate region extraction. The U-Net based CNN is used for pixel-level tumor segmentation, while a CNN classifier is used to categorize segmented regions as normal or abnormal.

The project demonstrates the feasibility of integrating preprocessing, tumor detection, segmentation, classification, evaluation, and visualization into a single modular workflow. It provides a consistent and repeatable analysis process that can assist researchers and medical professionals in examining tumor regions. However, the developed system is intended as an academic and research prototype and does not replace professional clinical diagnosis.

5.2 Future Work

Although the proposed system provides a structured predictive-maintenance approach, representative labelled data, threshold validation and numerical model evaluation remain important for reliable deployment.

- Attention-based U-Net: Attention mechanisms can be incorporated into the U-Net architecture to improve the detection of important tumor regions and provide more accurate tumor boundaries.

- Transfer Learning: Pretrained deep learning models can be explored to improve feature extraction and classification performance while reducing the amount of training required.

- 3D Tumor Segmentation: The current image analysis approach can be extended from 2D images to 3D volumetric medical scans to provide more comprehensive tumor analysis.

- Multi-modal Image Fusion: MRI and CT information can be combined to obtain complementary information and improve tumor detection and segmentation.

- Larger and Diverse Datasets: Future implementations can use larger, multi-institutional, and more diverse annotated datasets to improve model generalization and reliability.

- Data Augmentation: Additional image augmentation techniques can be applied to increase training data diversity and reduce the effects of limited annotated datasets.

- Explainable AI: Explainability techniques such as Grad-CAM can be incorporated to identify the image regions that influence the classification decision and improve model interpretability.

- Clinical Validation: The system can be evaluated with radiologist feedback and clinical datasets before being considered for practical diagnostic workflows.

5.3 Professional Learning & Individual Reflection

New Knowledge Acquired

- Learned the practical application of computer vision and digital image processing in medical image analysis.

- Gained knowledge of MRI/CT image preprocessing techniques including noise reduction, contrast enhancement, resizing, and normalization.

- Learned how thresholding and morphological operations can be used for candidate region extraction.

- Developed an understanding of the U-Net architecture and its encoder-decoder structure for tumor segmentation.

Engineering & Professional Skills Developed

- Python programming for image processing and deep learning implementation.

- Practical experience with OpenCV for medical image preprocessing.

- Performance evaluation and interpretation of quantitative metrics.

- Independent learning through documentation, experimentation, and implementation.

Individual Reflection

Most Difficult Engineering Problem Encountered and How It Was Solved

The most difficult engineering problem encountered during the project was achieving reliable tumor segmentation because tumor regions can have irregular boundaries, low contrast, different sizes, and varying intensity levels. Medical images may also contain noise and limited annotations. I addressed this challenge by applying preprocessing techniques such as noise reduction, normalization, contrast enhancement, thresholding, and morphological operations before performing deep learning-based segmentation.

A Key Engineering Decision Made Personally and the Evidence Behind It

A key engineering decision was to combine classical image processing techniques with a U-Net based CNN rather than depending only on traditional thresholding. Thresholding and morphological operations were useful for initial candidate region extraction, while U-Net provided a more suitable approach for pixel-level segmentation of complex tumor regions. This decision was supported by the requirement to handle irregular tumor boundaries and variations in medical image intensity.

New Knowledge Acquired Independently

I independently learned about the U-Net architecture, CNN-based classification, Dice Score, and IoU metrics because these concepts required additional practical understanding beyond basic classroom learning. I also learned how preprocessing influences the quality of segmentation and how different evaluation metrics provide different perspectives on model performance. Practical experimentation helped me understand the complete workflow more effectively.

What Would Be Redesigned If Repeated

If I repeated the project, I would redesign the system using a larger and more diverse dataset and investigate an improved U-Net architecture with attention mechanisms. I would also include stronger data augmentation, transfer learning, explainable AI techniques, and 3D volumetric analysis. These improvements could help increase segmentation accuracy, improve model generalization, and make the results easier to interpret.

REFERENCES

[1] R. C. Gonzalez and R. E. Woods, Digital Image Processing, 4th ed. Pearson, 2018.

[2] O. Ronneberger, P. Fischer, and T. Brox, “U-Net: Convolutional Networks for Biomedical Image Segmentation,” Medical Image Computing and Computer-Assisted Intervention (MICCAI), pp. 234–241, 2015.

[3] G. Bradski, “The OpenCV Library,” Dr. Dobb's Journal of Software Tools, 2000.

[4] K. He, X. Zhang, S. Ren, and J. Sun, “Deep Residual Learning for Image Recognition,” Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition (CVPR), pp. 770–778, 2016.

[5] M. H. Hesamian, W. Jia, X. He, and P. Kennedy, “Deep Learning Techniques for Medical Image Segmentation: Achievements and Challenges,” Journal of Digital Imaging, vol. 32, pp. 582–596, 2019.

[6] F. Milletari, N. Navab, and S.-A. Ahmadi, “V-Net: Fully Convolutional Neural Networks for Volumetric Medical Image Segmentation,” International Conference on 3D Vision (3DV), pp. 565–571, 2016.

[7] N. Otsu, “A Threshold Selection Method from Gray-Level Histograms,” IEEE Transactions on Systems, Man, and Cybernetics, vol. 9, no. 4, pp. 62–66, 1979.

[8] R. M. Haralick, S. R. Sternberg, and X. Zhuang, “Image Analysis Using Mathematical Morphology,” IEEE Transactions on Pattern Analysis and Machine Intelligence, vol. 9, no. 4, pp. 532–550, 1987.

[9] A. Krizhevsky, I. Sutskever, and G. E. Hinton, “ImageNet Classification with Deep Convolutional Neural Networks,” Advances in Neural Information Processing Systems (NeurIPS), vol. 25, 2012.

[10] F. Chollet, Deep Learning with Python, 2nd ed. Manning Publications, 2021.

[11] C. R. Harris et al., “Array Programming with NumPy,” Nature, vol. 585, pp. 357–362, 2020.

APPENDICES

## Appendix A – System Architecture

The proposed AI-Powered Electrical Panel Fault Prediction and Preventive Maintenance System system follows a modular architecture consisting of image loading, preprocessing, region extraction, segmentation, classification and evaluation/visualization layers.

### Preprocessing Layer

Noise removal using denoising filters.

Contrast enhancement using histogram equalization.

Resizing and normalization of image intensity values.

### Segmentation Layer

Otsu thresholding for candidate region extraction.

Morphological opening and closing for noise removal.

U-Net based CNN for pixel-level tumour mask generation.

### Classification and Evaluation Layer

CNN classifier for normal/abnormal tissue classification.

Dice Score and IoU computation for segmentation evaluation.

Accuracy, precision and recall computation for classification evaluation.

### Deployment Layer

The system can be developed using Python in Google Colab or Jupyter Notebook.

The completed pipeline can be extended into a web-based diagnostic assistance dashboard.

## Appendix B – Dataset and Feature Fields

import cv2
import numpy as np

# Load MRI/CT image
image = cv2.imread('scan_001.png', cv2.IMREAD_GRAYSCALE)

# Preprocessing: denoising and contrast enhancement
denoised = cv2.fastNlMeansDenoising(image, h=10)
enhanced = cv2.equalizeHist(denoised)

# Thresholding to isolate candidate regions
_, thresh = cv2.threshold(
    enhanced, 0, 255, cv2.THRESH_BINARY + cv2.THRESH_OTSU
)

# Morphological operations to remove noise
kernel = np.ones((3, 3), np.uint8)
cleaned = cv2.morphologyEx(thresh, cv2.MORPH_OPEN, kernel)
cleaned = cv2.morphologyEx(cleaned, cv2.MORPH_CLOSE, kernel)

## Appendix C – AI/ML Prediction Workflow

from tensorflow.keras import layers, Model

def unet_model(input_size=(256, 256, 1)):
    inputs = layers.Input(input_size)

    c1 = layers.Conv2D(64, 3, activation='relu', padding='same')(inputs)
    c1 = layers.Conv2D(64, 3, activation='relu', padding='same')(c1)
    p1 = layers.MaxPooling2D()(c1)
    b = layers.Conv2D(256, 3, activation='relu', padding='same')(p1)

    # Decoder
    u1 = layers.UpSampling2D()(b)
    u1 = layers.concatenate([u1, c1])
    c2 = layers.Conv2D(64, 3, activation='relu', padding='same')(u1)
    outputs = layers.Conv2D(1, 1, activation='sigmoid')(c2)

    return Model(inputs, outputs)

## Appendix D – Evaluation Metrics

def dice_score(y_true, y_pred, smooth=1e-6):
    intersection = np.sum(y_true * y_pred)
    return (2. * intersection + smooth) / (
        np.sum(y_true) + np.sum(y_pred) + smooth)

def iou_score(y_true, y_pred, smooth=1e-6):
    intersection = np.sum(y_true * y_pred)
    union = np.sum(y_true) + np.sum(y_pred) - intersection
    return (intersection + smooth) / (union + smooth)

dice = dice_score(ground_truth_mask, predicted_mask)
iou = iou_score(ground_truth_mask, predicted_mask)
print(f'Dice Score: {dice:.2f}, IoU: {iou:.2f}')

## Appendix E – Project Results / Test Data

| Condition / Sample | Fault Probability | Predicted Fault Type | Risk State |
| --- | --- | --- | --- |
| Normal operating sample | — | Normal | Normal |
| High temperature / load sample | — | Overheating / Overload | Warning |
| Abnormal voltage/current sample | — | Voltage / Current Abnormality | Critical |

The submitted CV report states that the above sample results meet the target segmentation parameters for the reported abnormal images. These values are sample outputs and should not be interpreted as a complete clinical validation dataset. The project states that only publicly available or properly anonymized MRI/CT datasets are used. Patient-identifiable information is not collected, stored or displayed. The system focuses on tumour localization and diagnostic assistance rather than autonomous diagnosis, and outputs should be reviewed by qualified medical professionals before clinical use.

## Appendix G – Project Meeting / Progress Records

To be attached from the team's actual project meeting/progress records, if applicable.

## Appendix H – User / Industry Feedback

To be attached if feedback was collected during the project. To be completed if applicable.

## Appendix J – Individual Contribution Evidence

To be attached from the team's actual contribution evidence, such as version-control history, module assignments, testing records or documented task allocation.

CAPSTONE PROJECT OUTCOME MAPPING SHEET

| Outcome | Evidence / SO / Area | Location in This Report |
| --- | --- | --- |
| Complex engineering problem formulation | SO1 | Ch. 1, Ch. 2 |
| Engineering design under constraints | SO2 | Ch. 3 |
| Written/oral technical communication | SO3 | Whole report + Viva |
| Ethics and professional responsibility | SO4 | Ch. 3 (3.7) |
| Teamwork and leadership | SO5 | Ch. 4 (4.8) |
| Experimentation, analysis, engineering judgment | SO6 | Ch. 4 (4.3–4.6) |
| Independent acquisition of new knowledge | SO7 | Ch. 5 (5.3) |
| Standards | SO2 | Ch. 3 (3.2) |
| Sustainability and societal/environmental impact | SO2/SO4 | Ch. 3 (3.7) |
| Risk assessment and mitigation | SO2/SO4 | Ch. 3 (3.7) |
| Security considerations | Relevant SO | Ch. 3 (3.7) |
| Integrated/system-level engineering | SO1/SO2 | Ch. 3 (3.5) |
| Project planning and management | SO5 | Ch. 4 (4.8) |
| Individual contribution | SO1–SO7 | Contribution Statement + Ch. 4 (4.8) |