## Slide 1
SIMATS ENGINEERING
SAVEETHA INSTITUTE OF MEDICAL AND TECHNICAL SCIENCES
CAPSTONE PROJECT PRESENTATION
AI-Powered Electrical Panel Fault Prediction and Preventive Maintenance System
CSA1707 - ARTIFICIAL INTELLIGENCE
Guided By:- Dr. R. Veeramani
Presented By :
V.Lasya(192524186)
V.G.Abbiramy(192524097)
S.Divyasri(192524388)

## Slide 2
INTRODUCTION
Electrical panels are essential for safe and reliable power distribution in industries, buildings and commercial facilities.
Common problems include overheating, overload, abnormal voltage/current, loose connections and component degradation.
Traditional maintenance is mainly scheduled or reactive and may not identify developing faults early.
Artificial Intelligence can learn patterns from sensor data and predict abnormal conditions before a major failure.
2

## Slide 3
ABSTRACT
The proposed system continuously monitors electrical-panel parameters such as voltage, current, temperature, load, power factor and vibration.
Sensor data is preprocessed and provided to machine-learning models for fault detection, classification and early warning.
The system estimates fault risk, identifies the likely fault type and recommends preventive-maintenance actions.
A dashboard displays real-time status, alerts, fault history and maintenance priorities.
3

## Slide 4
PROBLEM STATEMENT
Unexpected electrical-panel faults can cause downtime, equipment damage, safety hazards and increased repair cost.
Periodic inspection may miss faults that develop between scheduled maintenance activities.
Large amounts of sensor data are difficult to interpret manually in real time.
An intelligent system is required to predict faults early and support preventive maintenance decisions.
4

## Slide 5
OBJECTIVES
To Monitor important electrical-panel parameters continuously.
To Detect abnormal patterns related to overload, overheating and electrical abnormalities.
To Develop an AI/ML model to predict fault probability and classify fault conditions.
To Generate early alerts and maintenance recommendations based on predicted risk.
To Store historical readings and maintenance events for trend analysis.
5

## Slide 6
EXISTING SYSTEM
Scheduled preventive maintenance at fixed inspection intervals.
Manual measurement of voltage, current and temperature using test instruments.
Reactive maintenance after a breaker trip, visible abnormality or equipment failure.
Maintenance records are commonly maintained manually and provide limited predictive insight.
6

## Slide 7
EXISTING SYSTEM DRAWBACK
Faults can develop between two scheduled inspections.
Manual inspection is time-consuming and depends heavily on operator experience.
Fixed maintenance intervals may result in unnecessary servicing or late intervention.
Continuous condition monitoring and early fault prediction are limited.
Reactive repairs can increase downtime, maintenance cost and safety risk.
7

## Slide 8
PROPOSED SYSTEM
Collect sensor readings or historical electrical-panel data.
Clean and preprocess the data and generate useful features.
Use trained ML models to predict fault probability and classify fault type.
Generate alerts when sensor values or predicted risk cross defined thresholds.
Provide maintenance recommendations and maintain a history of alerts and actions.
8

## Slide 9
PROPOSED SYSTEM FEATURES
Real-time electrical and environmental parameter monitoring.
Fault prediction and fault-type classification.
Risk indication using Normal, Warning and Critical states.
Automatic alert generation and event logging.
Trend analysis for temperature, current, voltage and load.
Preventive-maintenance recommendations and maintenance history.
9

## Slide 10
LITERATURE REVIEW
Year | Paper / Standard | Method / Focus | Advantage | Limitation | Relevance
2023 | Random Forests – Breiman | Ensemble classification | Handles nonlinear features | Needs representative data | Useful for fault classification
2025 | Condition-based maintenance review – Jardine et al. | Condition monitoring & prognostics | Supports early intervention | Requires reliable condition data | Supports predictive-maintenance concept
2024 | ISO 17359:2018 | Condition monitoring guidelines | Structured monitoring process | Not an AI model | Guides monitoring workflow
2023 | NFPA 70B | Electrical equipment maintenance | Supports maintenance planning | Site implementation required | Supports preventive-maintenance practice
10

## Slide 11
SYSTEM DESIGN
Sensors / Dataset
Preprocessing
AI/ML Prediction
Risk & Fault Engine
Dashboard / Alerts
Maintenance History
Sensor data flows through preprocessing and AI prediction, followed by risk assessment and dashboard alerts.
Maintenance actions and outcomes are stored as historical information for traceability and future improvement.
11

## Slide 12
DATA SET
Input parameters: voltage, current, power, power factor, temperature, vibration and load percentage.
Event information: timestamp, operating state, breaker status and maintenance/fault event.
Target labels: Normal, Overload, Overheating, Voltage Abnormality, Current Abnormality and connection/Component Fault.
Preprocessing includes missing-value handling, normalization/scaling and feature extraction.
The dataset should contain representative normal and fault operating patterns.
12

## Slide 13
TECHNOLOGIES
Front End: HTML, CSS, JavaScript / React.
Back End: Python with Flask or FastAPI.
AI/ML: Scikit-learn; optional XGBoost or LSTM for advanced prediction.
Database: CSV / SQL for sensor readings, alerts and maintenance history.
IoT Hardware: ESP32 or equivalent controller with voltage, current and temperature sensors.
Tools: VS Code, Jupyter Notebook, Git and web browser.
13

## Slide 14
MODULE 1: DATA ACQUISITION & MONITORING
Read electrical and environmental parameters from sensors or historical datasets.
Timestamp and validate every reading.
Store readings for live monitoring and historical analysis.
Display the current panel condition and key parameters on the dashboard.
14

## Slide 15
MODULE 2: AI FAULT PREDICTION
Clean and preprocess sensor data.
Create features such as moving averages, temperature rise, load percentage and rate of change.
Train and evaluate machine-learning models.
Return fault probability, predicted fault category and confidence.
15

## Slide 16
MODULE 3: PREVENTIVE MAINTENANCE
Convert model output into Normal, Warning and Critical risk levels.
Generate alerts when predicted risk or sensor values exceed safe thresholds.
Recommend inspection, cooling, load balancing, tightening or component replacement where appropriate.
Record maintenance actions for traceability and future model improvement.
16

## Slide 17
METHODOLOGY
• Data Acquisition → Data Cleaning → Feature Engineering → Model Training → Fault Prediction.
• Risk Assessment → Alert Generation → Maintenance Recommendation → Maintenance History.
• Evaluate classification performance using accuracy, precision, recall, F1-score and confusion matrix.
• Use configurable thresholds and validate them against safe operating limits.
17

## Slide 18
RESULTS & DISCUSSION
Monitoring Continuous visibility of panel parameters
Prediction Fault probability and predicted fault type
Alerting Normal / Warning / Critical status
Maintenance Prioritized preventive action
Evaluation should report accuracy, precision, recall, F1-score, confusion matrix and false-alarm rate on labelled test data.
19

## Slide 19
CONCLUSION & FUTURE SCOPE
AI-based monitoring can shift electrical-panel maintenance from reactive practice toward condition-based and predictive maintenance.
The proposed architecture combines sensor monitoring, ML prediction, risk assessment, alerts and maintenance history.
Future scope includes edge AI, multi-panel deployment, anomaly detection for unknown faults, model retraining, mobile notifications and CMMS/IoT integration.
20

## Slide 20
REFERENCES
1. Breiman, L. (2022). Random Forests. Machine Learning, 45, 5–32.
2. Jardine, A. K. S., Lin, D., & Banjevic, D. (2025). A review on machinery diagnostics and prognostics implementing condition-based maintenance.
3. ISO 17359:2018. Condition monitoring and diagnostics of machines — General guidelines.
4. NFPA 70B (2024). Standard for Electrical Equipment Maintenance.
5. Hochreiter, S., & Schmidhuber, J. (2025). Long Short-Term Memory.
21

## Slide 21
THANK YOU
22